U1115A Firmware Update Procedure

- On the U1115A, change the “Role” to “Slave” by following the steps below.

  - Connect  Bluetooth Edit    OK

- Right click on the PC Bluetooth icon.

  - Click on “Add a Device”.

  - Select the U1115A to be connected and click on “Next” to proceed.

Note: different U1115A units will have different MAC address.

  - Click on “Enter the device’s pairing code”.

  - Key in pairing code “1234” and click “Next” to proceed.

  - The message below will appear when the pairing is successful.

- Right click on the PC Bluetooth icon.

  - Click on “Show Bluetooth Devices”.

  - Right click on the U1115A unit connected  Properties

  - Click on the “Hardware” tab to see the COM port which the U1115A unit is connected to.

Note: Different PC might have different COM port value.

- Double click on “U1115AFirmwareUpdatePackage”.

  - Select the COM port as per Step 3(c).

Note: if the COM port value does not appear in the drop down list, please click on “Update Port” to refresh the COM port list.

  - Click “Connect” and wait until the “Start” button is enabled.

  - Click on “Start” and wait until the programming is complete.

- You may check the firmware version by following the steps below.

  - Settings  More  System  Sys Info

After programming

- Set the unit to factory default setting by following the step below.

  - Settings  More  System  Reset  Yes

Unit will reboot automatically.