## Read Me First
'*************************************************
* DESCRIPTION: Sample Programs for E4980A
'*
'* AUTHOR: Agilent Technologies Japan, Ltd.
* CREATED: Aug/6/2007
* MODIFIED: None
* PROGRAM NAME: E4980A Sample Program
* REVISION: A.01.01
'*
'* Copyright (c) Agilent Technologies,
'* All rights reserved.
'*
'*
'* Customer shall have the personal, non-
'* transferable rights to use, copy or modify
'* this SAMPLE PROGRAM for Customer's internal
'* operations. Customer shall use the SAMPLE
'* PROGRAM solely and exclusively for its own
'* purpose and shall not license, lease, market
'* or distribute the SAMPLE PROGRAM or
'* modification or any part thereof.
'*
'* Agilent Technologies shall not be liable for
'* the quality, performance or behavior of the
'* SAMPLE PROGRAM. Agilent Technologies especially
'* disclaims that the operation of the SAMPLE
'* PROGRAM shall be uninterrupted or error free.
'* This SAMPLE PROGRAM is provided AS IS.
'*
'* AGILENT TECHNOLOGIES DISCLAIMS THE IMPLIED
'* WARRANTIES OF MERCHANTABILITY AND FITNESS FOR
'* A PARTICULAR PURPOSE.
'*
'* Agilent Technologies shall not be liable for
'* any infringement of any patent, trademark,
'* copyright or other proprietary rights by the
'* SAMPLE PROGRAM or its use. Agilent Technologies
'* does not warrant that the SAMPLE PROGRAM is
'* free from infringements or such rights of third
'* parties. However, Agilent Technologies will not
'* knowingly infringe or deliver a software that
'* infringes the patent, trademark, copyright or
'* other proprietary right of a third party.
'*
'*************************************************

## ControlPanel
E4980A Sample Program （VBA）
Select connection interface | USB | <- | Click B3 column and select interface from GPIB or USB.
The interface function is enabled by properly setting the connection conditions in the standard module (VBA) named SelectLCRMeter. Access the SelectLCRMeter and open the VBA module program. Then, modify the address in the module program to equalize it with your E4980A's address. The connection conditions defined by the SelectLCRMeter module program are automatically applied to all the sample programs in other spreadsheets. (It is impossible to change the connection conditions independently for each sample program.)
To define the connection conditions, perform the following procedure: (1) Click Tool in the top menu of this Excel display window. (2) Click Macro in pull-down menu, and then Visual Basic Editor to access the standard modules. (3) From VBAProject tree on the left hand of Excel window, select the standard module named SelectLCRMeter. (4) Double-click SelectLCRMeter to open the VBA module program. (5) If the connection interface is GPIB, change the preset address17 in the following program line: ErrorCheck viOpen(defrm, "GPIB0::17::INSTR", 0, 0, Agte4980a). Overwrite the GPIB address of your E4980A in place of 17. (6) If the connection interface is USB, change the preset code LP10000000 in the following program line: ErrorCheck viOpen(defrm, "USB0::2391::2313::LP10000000::0::INSTR", 0, 0, Agte4980a). Overwrite the serial number of your E4980A such as MY12345678 (example) in place of LP10000000. (7) Save the edited version of E4980ASampleProgram.xls in your PC.
After you have performed the above procedure, your PC recognizes the E4980A connected to your PC.
GPIB
USB

## Example_1
Example_1 | Setting measurement conditions and screen display
Connection interface | USB | <- | The connection method selected in the Control Panel sheet is applied.
Content
This application program sets the measurement conditions and the LCD display of the E4980A.
Message
End to set configuration.
Execute

## Example_2
Example_2 | Detecting End of Measurement
Connection interface | USB | <- | The connection method selected in the Control Panel sheet is applied.
Content
This application program detects the end of measurement with the status byte after the E4980A is triggered. This program waits until the status byte becomes 192, and displays the status byte while waiting and the status byte after processing.
| Status Byte (Loop) |  | Status Byte （Clear)
| 192 |  | 0
Execute

## Example_3
Example_3 | Read Measurement Results
Connection interface | USB | <- | The connection method selected in the Control Panel sheet is applied.
Content (Example_3_1) |  |  |  |  | Content （Example_3_4)
This application program reads measurement data along with comparator decision data in ASCII format. |  |  |  |  | This application program reads measurement data along with comparator decision data in BINARY format.
| Result |  |  |  |  | Result
| Result A | Result B | Status | BIN No. |  | Result A | Result B | Status | BIN No.
| 2.6598e-06 | -0.45762 | 0 | 0 |  | 1.2153e-06 | -1.0804 | 0 | 0
Content (Example_3_2) |  |  |  |  | Content (Example_3_5)
This application program reads measurement data along with comparator decision data in ASCII format using the data buffer memory. |  |  |  |  | This application program reads measurement data along with comparator decision data in BINARY format using the data buffer memory.
| Result |  |  |  |  | Result
| Result A | Result B | Status | BIN No. |  | Result A | Result B | Status | BIN No.
| 2.0644e-07 | -7.7444 | 0 | 0 |  | 4.6743e-06 | -0.62096 | 0 | 0
| 1.0221e-06 | -0.79208 | 0 | 0 |  | 8.6714e-07 | -1.9547 | 0 | 0
| 1.6613e-06 | -0.045392 | 0 | 0 |  | 1.9749e-06 | -0.18389 | 0 | 0
| 2.6768e-06 | -0.20857 | 0 | 0 |  | 1.3829e-06 | -0.74476 | 0 | 0
| 7.1949e-07 | -2.0448 | 0 | 0 |  | 1.9871e-06 | -0.41347 | 0 | 0
Content (Example_3_3) |  |  |  |  | Content （Example_3_6)
This application program performs a list sweep measurement and reads measurement values along with comparator In/Out decision results in ASCII format at each measurement point. |  |  |  |  | This application program performs a list sweep measurement and reads the measurement values along with comparator In/Out decision results in BINARY format at each measurement point.
| Result |  |  |  |  | Result
| Result A | Result B | Status | IN/OUT |  | Result A | Result B | Status | IN/OUT
| 3.1235e-07 | -7.1754 | 0 | -1 |  | 1.3915e-06 | -1.1594 | 0 | -1
| 1.3355e-06 | -0.97805 | 0 | -1 |  | 9.4147e-08 | -8.5333 | 0 | -1
| 2.1079e-07 | -0.78118 | 0 | -1 |  | 2.7731e-07 | -1.1888 | 0 | -1
| 1.161e-07 | -0.83285 | 0 | -1 |  | 9.1156e-08 | -1.0444 | 0 | -1
| 1.7722e-07 | -1.486 | 0 | -1 |  | 6.0665e-08 | -0.94851 | 0 | -1
| 3.0926e-08 | -0.19958 | 0 | -1 |  | 3.2259e-08 | -0.41925 | 0 | -1
| 5.6541e-09 | -2.4737 | 0 | -1 |  | 1.5763e-08 | -1.0041 | 0 | -1
Execute
Execute
Execute
Execute
Execute
Execute

## Example_4
Example_4 | Save/Recall
Connection interface | USB | <- | The connection method selected in the Control Panel sheet is applied.
Content
This application program saves into/recalls from the E4980A's internal flash memory the setup status data using the save/recall function.
Select Save or Recall ?
| Save |  |  | Save
Recall
*OPC query value
+1
Execute

## Example_5
Example_5 | Read correction data at user defined frequencies
Connection interface | USB | <- | The connection method selected in the Control Panel sheet is applied.
Content
This application program performs open/short/load correction at user-defined frequencies and reads/writes the correction data over GPIB or USB.
Result
Point No. | Open A | Open B | Short A | Short B | Load A | Load B
1 | 0 | 0 | 0 | 0 | 0 | 0
2 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 | 0 | 0 | 0 | 0 | 0
6 | 0 | 0 | 0 | 0 | 0 | 0
7 | 0 | 0 | 0 | 0 | 0 | 0
8 | 0 | 0 | 0 | 0 | 0 | 0
9 | 0 | 0 | 0 | 0 | 0 | 0
10 | 0 | 0 | 0 | 0 | 0 | 0
11 | 0 | 0 | 0 | 0 | 0 | 0
12 | 0 | 0 | 0 | 0 | 0 | 0
13 | 0 | 0 | 0 | 0 | 0 | 0
14 | 0 | 0 | 0 | 0 | 0 | 0
15 | 0 | 0 | 0 | 0 | 0 | 0
16 | 0 | 0 | 0 | 0 | 0 | 0
17 | 0 | 0 | 0 | 0 | 0 | 0
18 | 0 | 0 | 0 | 0 | 0 | 0
19 | 0 | 0 | 0 | 0 | 0 | 0
20 | 0 | 0 | 0 | 0 | 0 | 0
21 | 0 | 0 | 0 | 0 | 0 | 0
22 | 0 | 0 | 0 | 0 | 0 | 0
23 | 0 | 0 | 0 | 0 | 0 | 0
24 | 0 | 0 | 0 | 0 | 0 | 0
25 | 0 | 0 | 0 | 0 | 0 | 0
26 | 0 | 0 | 0 | 0 | 0 | 0
27 | 0 | 0 | 0 | 0 | 0 | 0
28 | 0 | 0 | 0 | 0 | 0 | 0
29 | 0 | 0 | 0 | 0 | 0 | 0
30 | 0 | 0 | 0 | 0 | 0 | 0
31 | 0 | 0 | 0 | 0 | 0 | 0
32 | 0 | 0 | 0 | 0 | 0 | 0
33 | 0 | 0 | 0 | 0 | 0 | 0
34 | 0 | 0 | 0 | 0 | 0 | 0
35 | 0 | 0 | 0 | 0 | 0 | 0
36 | 0 | 0 | 0 | 0 | 0 | 0
37 | 0 | 0 | 0 | 0 | 0 | 0
38 | 0 | 0 | 0 | 0 | 0 | 0
39 | 0 | 0 | 0 | 0 | 0 | 0
40 | 0 | 0 | 0 | 0 | 0 | 0
41 | 0 | 0 | 0 | 0 | 0 | 0
42 | 0 | 0 | 0 | 0 | 0 | 0
43 | 0 | 0 | 0 | 0 | 0 | 0
44 | 0 | 0 | 0 | 0 | 0 | 0
45 | 0 | 0 | 0 | 0 | 0 | 0
46 | 0 | 0 | 0 | 0 | 0 | 0
47 | 0 | 0 | 0 | 0 | 0 | 0
48 | 0 | 0 | 0 | 0 | 0 | 0
49 | 0 | 0 | 0 | 0 | 0 | 0
50 | 0 | 0 | 0 | 0 | 0 | 0
51 | 0 | 0 | 0 | 0 | 0 | 0
52 | 0 | 0 | 0 | 0 | 0 | 0
53 | 0 | 0 | 0 | 0 | 0 | 0
54 | 0 | 0 | 0 | 0 | 0 | 0
55 | 0 | 0 | 0 | 0 | 0 | 0
56 | 0 | 0 | 0 | 0 | 0 | 0
57 | 0 | 0 | 0 | 0 | 0 | 0
58 | 0 | 0 | 0 | 0 | 0 | 0
59 | 0 | 0 | 0 | 0 | 0 | 0
60 | 0 | 0 | 0 | 0 | 0 | 0
61 | 0 | 0 | 0 | 0 | 0 | 0
62 | 0 | 0 | 0 | 0 | 0 | 0
63 | 0 | 0 | 0 | 0 | 0 | 0
64 | 0 | 0 | 0 | 0 | 0 | 0
65 | 0 | 0 | 0 | 0 | 0 | 0
66 | 0 | 0 | 0 | 0 | 0 | 0
67 | 0 | 0 | 0 | 0 | 0 | 0
68 | 0 | 0 | 0 | 0 | 0 | 0
69 | 0 | 0 | 0 | 0 | 0 | 0
70 | 0 | 0 | 0 | 0 | 0 | 0
71 | 0 | 0 | 0 | 0 | 0 | 0
72 | 0 | 0 | 0 | 0 | 0 | 0
73 | 0 | 0 | 0 | 0 | 0 | 0
74 | 0 | 0 | 0 | 0 | 0 | 0
75 | 0 | 0 | 0 | 0 | 0 | 0
76 | 0 | 0 | 0 | 0 | 0 | 0
77 | 0 | 0 | 0 | 0 | 0 | 0
78 | 0 | 0 | 0 | 0 | 0 | 0
79 | 0 | 0 | 0 | 0 | 0 | 0
80 | 0 | 0 | 0 | 0 | 0 | 0
81 | 0 | 0 | 0 | 0 | 0 | 0
82 | 0 | 0 | 0 | 0 | 0 | 0
83 | 0 | 0 | 0 | 0 | 0 | 0
84 | 0 | 0 | 0 | 0 | 0 | 0
85 | 0 | 0 | 0 | 0 | 0 | 0
86 | 0 | 0 | 0 | 0 | 0 | 0
87 | 0 | 0 | 0 | 0 | 0 | 0
88 | 0 | 0 | 0 | 0 | 0 | 0
89 | 0 | 0 | 0 | 0 | 0 | 0
90 | 0 | 0 | 0 | 0 | 0 | 0
91 | 0 | 0 | 0 | 0 | 0 | 0
92 | 0 | 0 | 0 | 0 | 0 | 0
93 | 0 | 0 | 0 | 0 | 0 | 0
94 | 0 | 0 | 0 | 0 | 0 | 0
95 | 0 | 0 | 0 | 0 | 0 | 0
96 | 0 | 0 | 0 | 0 | 0 | 0
97 | 0 | 0 | 0 | 0 | 0 | 0
98 | 0 | 0 | 0 | 0 | 0 | 0
99 | 0 | 0 | 0 | 0 | 0 | 0
100 | 0 | 0 | 0 | 0 | 0 | 0
101 | 0 | 0 | 0 | 0 | 0 | 0
102 | 0 | 0 | 0 | 0 | 0 | 0
103 | 0 | 0 | 0 | 0 | 0 | 0
104 | 0 | 0 | 0 | 0 | 0 | 0
105 | 0 | 0 | 0 | 0 | 0 | 0
106 | 0 | 0 | 0 | 0 | 0 | 0
107 | 0 | 0 | 0 | 0 | 0 | 0
108 | 0 | 0 | 0 | 0 | 0 | 0
109 | 0 | 0 | 0 | 0 | 0 | 0
110 | 0 | 0 | 0 | 0 | 0 | 0
111 | 0 | 0 | 0 | 0 | 0 | 0
112 | 0 | 0 | 0 | 0 | 0 | 0
113 | 0 | 0 | 0 | 0 | 0 | 0
114 | 0 | 0 | 0 | 0 | 0 | 0
115 | 0 | 0 | 0 | 0 | 0 | 0
116 | 0 | 0 | 0 | 0 | 0 | 0
117 | 0 | 0 | 0 | 0 | 0 | 0
118 | 0 | 0 | 0 | 0 | 0 | 0
119 | 0 | 0 | 0 | 0 | 0 | 0
120 | 0 | 0 | 0 | 0 | 0 | 0
121 | 0 | 0 | 0 | 0 | 0 | 0
122 | 0 | 0 | 0 | 0 | 0 | 0
123 | 0 | 0 | 0 | 0 | 0 | 0
124 | 0 | 0 | 0 | 0 | 0 | 0
125 | 0 | 0 | 0 | 0 | 0 | 0
126 | 0 | 0 | 0 | 0 | 0 | 0
127 | 0 | 0 | 0 | 0 | 0 | 0
128 | 0 | 0 | 0 | 0 | 0 | 0
129 | 0 | 0 | 0 | 0 | 0 | 0
130 | 0 | 0 | 0 | 0 | 0 | 0
131 | 0 | 0 | 0 | 0 | 0 | 0
132 | 0 | 0 | 0 | 0 | 0 | 0
133 | 0 | 0 | 0 | 0 | 0 | 0
134 | 0 | 0 | 0 | 0 | 0 | 0
135 | 0 | 0 | 0 | 0 | 0 | 0
136 | 0 | 0 | 0 | 0 | 0 | 0
137 | 0 | 0 | 0 | 0 | 0 | 0
138 | 0 | 0 | 0 | 0 | 0 | 0
139 | 0 | 0 | 0 | 0 | 0 | 0
140 | 0 | 0 | 0 | 0 | 0 | 0
141 | 0 | 0 | 0 | 0 | 0 | 0
142 | 0 | 0 | 0 | 0 | 0 | 0
143 | 0 | 0 | 0 | 0 | 0 | 0
144 | 0 | 0 | 0 | 0 | 0 | 0
145 | 0 | 0 | 0 | 0 | 0 | 0
146 | 0 | 0 | 0 | 0 | 0 | 0
147 | 0 | 0 | 0 | 0 | 0 | 0
148 | 0 | 0 | 0 | 0 | 0 | 0
149 | 0 | 0 | 0 | 0 | 0 | 0
150 | 0 | 0 | 0 | 0 | 0 | 0
151 | 0 | 0 | 0 | 0 | 0 | 0
152 | 0 | 0 | 0 | 0 | 0 | 0
153 | 0 | 0 | 0 | 0 | 0 | 0
154 | 0 | 0 | 0 | 0 | 0 | 0
155 | 0 | 0 | 0 | 0 | 0 | 0
156 | 0 | 0 | 0 | 0 | 0 | 0
157 | 0 | 0 | 0 | 0 | 0 | 0
158 | 0 | 0 | 0 | 0 | 0 | 0
159 | 0 | 0 | 0 | 0 | 0 | 0
160 | 0 | 0 | 0 | 0 | 0 | 0
161 | 0 | 0 | 0 | 0 | 0 | 0
162 | 0 | 0 | 0 | 0 | 0 | 0
163 | 0 | 0 | 0 | 0 | 0 | 0
164 | 0 | 0 | 0 | 0 | 0 | 0
165 | 0 | 0 | 0 | 0 | 0 | 0
166 | 0 | 0 | 0 | 0 | 0 | 0
167 | 0 | 0 | 0 | 0 | 0 | 0
168 | 0 | 0 | 0 | 0 | 0 | 0
169 | 0 | 0 | 0 | 0 | 0 | 0
170 | 0 | 0 | 0 | 0 | 0 | 0
171 | 0 | 0 | 0 | 0 | 0 | 0
172 | 0 | 0 | 0 | 0 | 0 | 0
173 | 0 | 0 | 0 | 0 | 0 | 0
174 | 0 | 0 | 0 | 0 | 0 | 0
175 | 0 | 0 | 0 | 0 | 0 | 0
176 | 0 | 0 | 0 | 0 | 0 | 0
177 | 0 | 0 | 0 | 0 | 0 | 0
178 | 0 | 0 | 0 | 0 | 0 | 0
179 | 0 | 0 | 0 | 0 | 0 | 0
180 | 0 | 0 | 0 | 0 | 0 | 0
181 | 0 | 0 | 0 | 0 | 0 | 0
182 | 0 | 0 | 0 | 0 | 0 | 0
183 | 0 | 0 | 0 | 0 | 0 | 0
184 | 0 | 0 | 0 | 0 | 0 | 0
185 | 0 | 0 | 0 | 0 | 0 | 0
186 | 0 | 0 | 0 | 0 | 0 | 0
187 | 0 | 0 | 0 | 0 | 0 | 0
188 | 0 | 0 | 0 | 0 | 0 | 0
189 | 0 | 0 | 0 | 0 | 0 | 0
190 | 0 | 0 | 0 | 0 | 0 | 0
191 | 0 | 0 | 0 | 0 | 0 | 0
192 | 0 | 0 | 0 | 0 | 0 | 0
193 | 0 | 0 | 0 | 0 | 0 | 0
194 | 0 | 0 | 0 | 0 | 0 | 0
195 | 0 | 0 | 0 | 0 | 0 | 0
196 | 0 | 0 | 0 | 0 | 0 | 0
197 | 0 | 0 | 0 | 0 | 0 | 0
198 | 0 | 0 | 0 | 0 | 0 | 0
199 | 0 | 0 | 0 | 0 | 0 | 0
200 | 0 | 0 | 0 | 0 | 0 | 0
201 | 0 | 0 | 0 | 0 | 0 | +0.00000E+00
Execute